[**1** **gesis® NV - Bus-/Signal-Connectors** 2](#_Toc37406088)

[**1.1** **2-pole - BST14i2** 2](#_Toc37406089)

[**1.1.1** **Connectors** 2](#_Toc37406090)

[**1.1.1.1** **Female connector with spring clamp connection** 2](#_Toc37406091)

[**1.1.1.2** **Male with spring clamp connection** 3](#_Toc37406092)

[**1.1.2** **Snap-In** 4](#_Toc37406093)

[**1.1.2.1** **Female connector with spring clamp connection** 4](#_Toc37406094)

[**1.1.2.2** **Male with spring clamp connection** 5](#_Toc37406095)

[**1.1.3** **Luminaire connection** 6](#_Toc37406096)

[**1.1.4** **Distribution blocks** 7](#_Toc37406097)

[**1.1.5** **Accessories** 9](#_Toc37406098)

[**1.1.6** **Cables** 10](#_Toc37406099)

[**1.1.6.1** **Cable assemblies, 0.5 mm², fire class Eca, containing halogen** 10](#_Toc37406100)

[**1.1.6.2** **Cable assemblies, 0.5 mm², fire class Eca, containing halogen** 12](#_Toc37406101)

[**1.1.6.3** **Cable assemblies, 0.5 mm², fire class Eca, halogen-free** 13](#_Toc37406102)

[**1.1.6.4** **Cable assemblies, 0.5 mm², fire class Dca, halogen-free** 14](#_Toc37406103)

[**1.1.6.5** **Cable assemblies, 0.5 mm², fire class Cca, halogen-free** 16](#_Toc37406104)

[**1.2** **3-pole - BST14i3** 18](#_Toc37406105)

[**1.2.1** **Connectors** 18](#_Toc37406106)

[**1.2.1.1** **Female connector with spring clamp connection** 18](#_Toc37406107)

[**1.2.1.2** **Male with spring clamp connection** 19](#_Toc37406108)

[**1.2.2** **Snap-In** 20](#_Toc37406109)

[**1.2.2.1** **Female connector with spring clamp connection** 20](#_Toc37406110)

[**1.2.2.2** **Male with spring clamp connection** 21](#_Toc37406111)

[**1.2.3** **Distribution blocks** 22](#_Toc37406112)

[**1.2.4** **Accessories** 24](#_Toc37406113)

[**1.2.5** **Cables** 25](#_Toc37406114)

[**1.2.5.1** **Cable assemblies, 0.5 mm², fire class Eca, containing halogen** 25](#_Toc37406115)

[**1.2.5.2** **Cable assemblies, 0.5 mm², fire class Dca, halogen-free** 26](#_Toc37406116)

1. **gesis® NV - Bus-/Signal-Connectors**
   1. **2-pole - BST14i2**
      1. **Connectors**
         1. **Female connector with spring clamp connection**

**gesis®** **connector, female, 2-pole, 50 V, 3 A, black/green**

System gesis® NV - Connectors for bus/signal cables (connectors according to KNX manual), female version, 2-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Coding: according to KNX standard

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F B1 Z R1 S MGN01

Part No.: 93.421.0553.1

**gesis®** **connector, female, 2-pole, 50 V, 3 A, black/pastel blue**

System gesis® NV - Connectors for bus/signal cables, female version, 2-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F B1 Z R1 S MPB02

Part No.: 93.421.4553.1

* + - 1. **Male with spring clamp connection**

**gesis®** **connector, male, 2-pole, 50 V, 3 A, black/green**

System gesis® NV - Connectors for bus/signal cables (connectors according to KNX manual), male version, 2-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Coding: according to KNX standard

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 2-, 1+

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F S1 Z R1 S MGN01

Part No.: 93.422.0553.1

**gesis®** **connector, male, 2-pole, 50 V, 3 A, black/pastel blue**

System gesis® NV - Connectors for bus/signal cables, male version, 2-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 2-, 1+

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F S1 Z R1 S MPB02

Part No.: 93.422.4553.1

* + 1. **Snap-In**
       1. **Female connector with spring clamp connection**

**gesis® Snap-In, female, 2-pole, for panel mounting, 50 V, 3 A, black/green**

System gesis® NV - Connectors for bus/signal cables (connectors according to KNX manual), female version, 2-pole, with spring clamp connection, snapable in housing, with integrated locking, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Coding: according to KNX standard

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F B1 R S GN01

Part No.: 93.421.0353.1

**gesis® Snap-In, female, 2-pole, for panel mounting, 50 V, 3 A, black/pastel blue**

System gesis® NV - Connectors for bus/signal cables, female version, 2-pole, with spring clamp connection, snapable in housing, with integrated locking and end-cap, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F B1 R S PB02

Part No.: 93.421.4353.1

* + - 1. **Male with spring clamp connection**

**gesis® Snap-In, male, 2-pole, for panel mounting, 50 V, 3 A, black/green**

System gesis® NV - Connectors for bus/signal cables (connectors according to KNX manual), male version, 2-pole, with spring clamp connection, snapable in housing, with integrated locking, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Coding: according to KNX standard

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 2-, 1+

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F S1 R S GN01

Part No.: 93.422.0353.1

**gesis® Snap-In, male, 2-pole, for panel mounting, 50 V, 3 A, black/pastel blue**

System gesis® NV - Connectors for bus/signal cables, male version, 2-pole, with spring clamp connection, snapable in housing, with integrated locking and end-cap, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 2-, 1+

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 F S1 R S PB02

Part No.: 93.422.4353.1

* + 1. **Luminaire connection**

**gesis® TT-distribution block, 2-pole, 50 V, 3 A, pastel blue**

System gesis® NV - TT-Distribution blocks for bus/signal cables, for a direct, pluggable connection to corresponding luminaires, 2-pole, with integrated locking and end-cap, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Connections per pole: 2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 V 2P1KR PB02

Part No.: 93.420.4553.0

* + 1. **Distribution blocks**

**gesis® distribution block, 2-pole, 1 input, 2 outputs, 50 V, 3 A, green**

System gesis® NV - Distribution blocks for bus/signal cables (connectors according to KNX manual), T-shaped distribution block, 2-pole, 1 input, 2 outputs, with integrated locking, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Coding: according to KNX standard

Housing material: Polyamide

Input: 1

Outputs: 2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 V 2P1 T GN01

Part No.: 93.420.0653.0

**gesis® distribution block, 2-pole, 1 input, 2 outputs, 50 V, 3 A, pastel blue**

System gesis® NV - Distribution blocks for bus/signal cables, T-shaped distribution block, 2-pole, 1 input, 2 outputs, with integrated locking, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Input: 1

Outputs: 2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 V 2P1 T PB02

Part No.: 93.420.4653.0

**gesis® distribution block, 2-pole, 1 input, 3 outputs, 50 V, 3 A, green**

System gesis® NV - Distribution blocks for bus/signal cables (connectors according to KNX manual), H-shaped distribution block, 2-pole, 1 input, 3 outputs, with integrated locking, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Coding: according to KNX standard

Housing material: Polyamide

Input: 1

Outputs: 3

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 V 3P1 T GN01

Part No.: 93.420.0453.0

**gesis® distribution block, 2-pole, 1 input, 5 outputs, 50 V, 3 A, green**

System gesis® NV - Distribution blocks for bus/signal cables (connectors according to KNX manual), distribution block, 2-pole, 1 input, 5 outputs, with integrated locking, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Coding: according to KNX standard

Housing material: Polyamide

Input: 1

Outputs: 5

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i2 V 5P1 T GN01

Part No.: 93.420.0053.0

* + 1. **Accessories**

**gesis® cover for female, black**

System gesis® NV - Cover for female parts BST14, black.

Material: Polyamide

Halogen-free: yes

Brand: Wieland Electric GmbH

Part No.: 05.563.7753.0

**gesis® cover for male, black**

System gesis® NV - Cover for male parts BST14, black.

Material: Polyamide

Halogen-free: yes

Brand: Wieland Electric GmbH

Part No.: 05.563.7853.0

**gesis® cover cap, white**

System gesis® NV - Cover cap for snap-in cut outs BST14, white.

Material: Polyamide

Halogen-free: yes

Brand: Wieland Electric GmbH

Part No.: 07.425.8453.0

* + 1. **Cables**
       1. **Cable assemblies, 0.5 mm², fire class Eca, containing halogen**

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, green**

System gesis® NV - assembled FB-2Y(St)2Y 2x2x0.8 extension cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, female BST14i2, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: FB-2Y(St)2Y 2x2x0.8

Fire class: Eca

Cable color: green

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50 x0GN01

Part No.: 94.425.x000.7 (x corresponds to length in m)

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03VV-U2x0.5 extension cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, female BST14i2, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03VV-U2x0.5

Fire class: Eca

Cable color: black

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50L x0PB02

Part No.: 94.425.x030.9 (x corresponds to length in m)

**gesis® connection cable, female, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, green**

System gesis® NV - assembled FB-2Y(St)2Y 2x2x0.8 connection cable, 2-pole, 0.5 mm², fire class Eca, female BST14i2, free end, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: FB-2Y(St)2Y 2x2x0.8

Fire class: Eca

Cable color: green

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF B- 50 x0GN01

Part No.: 94.425.x003.7 (x corresponds to length in m)

**gesis® connection cable, female, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03VV-U2x0.5 connection cable, 2-pole, 0.5 mm², fire class Eca, female BST14i2, free end, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03VV-U2x0.5

Fire class: Eca

Cable color: black

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF B- 50L x0PB02

Part No.: 94.425.x033.9 (x corresponds to length in m)

**gesis® connection cable, male, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, green**

System gesis® NV - assembled FB-2Y(St)2Y 2x2x0.8 connection cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, free end, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: FB-2Y(St)2Y 2x2x0.8

Fire class: Eca

Cable color: green

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF -S 50 x0GN01

Part No.: 94.425.x004.7 (x corresponds to length in m)

**gesis® connection cable, male, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03VV-U2x0.5 connection cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, free end, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03VV-U2x0.5

Fire class: Eca

Cable color: black

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF -S 50L x0PB02

Part No.: 94.425.x034.9 (x corresponds to length in m)

* + - 1. **Cable assemblies, 0.5 mm², fire class Eca, containing halogen**

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03VV-U extension cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, female BST14i2, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03VV-U

Fire class: Eca

Cable color: black

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50Z x0PB02

Part No.: 94.425.x030.9 (x corresponds to length in m)

**gesis® connection cable, female, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03VV-U connection cable, 2-pole, 0.5 mm², fire class Eca, female BST14i2, free end, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03VV-U

Fire class: Eca

Cable color: black

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF B- 50Z x0PB02

Part No.: 94.425.x033.9 (x corresponds to length in m)

**gesis® connection cable, male, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03VV-U connection cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, free end, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03VV-U

Fire class: Eca

Cable color: black

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF -S 50Z x0PB02

Part No.: 94.425.x034.9 (x corresponds to length in m)

* + - 1. **Cable assemblies, 0.5 mm², fire class Eca, halogen-free**

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03Z1Z1-U extension cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, female BST14i2, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03Z1Z1-U

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50Z x0PB02

Part No.: 94.425.x090.9 (x corresponds to length in m)

**gesis® connection cable, female, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03Z1Z1-U connection cable, 2-pole, 0.5 mm², fire class Eca, female BST14i2, free end, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03Z1Z1-U

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF B- 50Z x0PB02

Part No.: 94.425.x093.9 (x corresponds to length in m)

**gesis® connection cable, male, free end, 2x 0.5 mm², 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled L03Z1Z1-U connection cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, free end, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: L03Z1Z1-U

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF -S 50Z x0PB02

Part No.: 94.425.x094.9 (x corresponds to length in m)

* + - 1. **Cable assemblies, 0.5 mm², fire class Dca, halogen-free**

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Dca, length: x m, green**

System gesis® NV - assembled FB-H(St) 2x2x0.8 extension cable, 2-pole, 0.5 mm², ², fire class Dca, male BST14i2, female BST14i2, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: FB-H(St) 2x2x0.8

Fire class: Dca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50H x0GN01

Part No.: 94.425.x060.7 (x corresponds to length in m)

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Dca, length: 3 m, black**

System gesis® NV - assembled FB-H(St) 2x2x0.8 extension cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, female BST14i2, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-H(St) 2x2x0.8

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: 3 m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50Z 30PB02

Part No.: 94.425.3060.9

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Dca, length: 5 m, black**

System gesis® NV - assembled FB-H(St) 2x2x0.8 extension cable, 2-pole, 0.5 mm², fire class Eca, male BST14i2, female BST14i2, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-H(St) 2x2x0.8

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: 5 m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50Z 50PB02

Part No.: 94.425.5060.9

**gesis® connection cable, female, free end, 2x 0.5 mm², 50 V, 3 A, Dca, length: x m, green**

System gesis® NV - assembled FB-H(St) 2x2x0.8 connection cable, 2-pole, 0.5 mm², fire class Dca, female BST14i2, free end, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: FB-H(St) 2x2x0.8

Fire class: Dca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF B- 50H x0GN01

Part No.: 94.425.x063.7 (x corresponds to length in m)

**gesis® extension cable, female, free end, 2x 0.5 mm², 50 V, 3 A, Dca, length: 3 m, black**

System gesis® NV - assembled FB-H(St) 2x2x0.8 extension cable, 2-pole, 0.5 mm², fire class Eca, female BST14i2, free end, mechanical coding code 2, color coding pastel blue.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-H(St) 2x2x0.8

Fire class: Eca

Cable color: black

Halogen-free: yes

Length: 3 m

Brand: Wieland Electric GmbH

Type: BST14i2 KF B- 50Z 30PB02

Part No.: 94.425.3063.9

**gesis® connection cable, male, free end, 2x 0.5 mm², 50 V, 3 A, Dca, length: x m, green**

System gesis® NV - assembled FB-H(St) 2x2x0.8 connection cable, 2-pole, 0.5 mm², fire class Dca, male BST14i2, free end, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: FB-H(St) 2x2x0.8

Fire class: Dca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF -S 50H x0GN01

Part No.: 94.425.x064.7 (x corresponds to length in m)

* + - 1. **Cable assemblies, 0.5 mm², fire class Cca, halogen-free**

**gesis® extension cable, female, male, 2x 0.5 mm², 50 V, 3 A, Cca, length: x m, green**

System gesis® NV - assembled J-H(St)Hh 2x2x0.8 extension cable, 2-pole, 0.5 mm², ², fire class Cca, male BST14i2, female BST14i2, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: J-H(St)Hh 2x2x0.8

Fire class: Cca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF BS 50C x0GN01

Part No.: 94.425.x050.7 (x corresponds to length in m)

**gesis® connection cable, female, free end, 2x 0.5 mm², 50 V, 3 A, Cca, length: x m, green**

System gesis® NV - assembled J-H(St)Hh 2x2x0.8 connection cable, 2-pole, 0.5 mm², fire class Cca, female BST14i2, free end, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: J-H(St)Hh 2x2x0.8

Fire class: Cca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF B- 50C x0GN01

Part No.: 94.425.x053.7 (x corresponds to length in m)

**gesis® connection cable, male, free end, 2x 0.5 mm², 50 V, 3 A, Cca, length: x m, green**

System gesis® NV - assembled J-H(St)Hh 2x2x0.8 connection cable, 2-pole, 0.5 mm², fire class Cca, male BST14i2, free end, mechanical coding code 1, color coding green.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Approval: KNX certified

Cable type: J-H(St)Hh 2x2x0.8

Fire class: Cca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i2 KF -S 50C x0GN01

Part No.: 94.425.x054.7 (x corresponds to length in m)

* 1. **3-pole - BST14i3**
     1. **Connectors**
        1. **Female connector with spring clamp connection**

**gesis®** **connector, female, 3-pole, 50 V, 3 A, white**

System gesis® NV - Connectors for bus/signal cables, female version, 3-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 3, color coding white.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F B1 Z R1 MWS

Part No.: 93.431.2553.0

**gesis®** **connector, female, 3-pole, 50 V, 3 A, black**

System gesis® NV - Connectors for bus/signal cables (e.g. LON), female version, 3-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F B1 Z R1 MSW

Part No.: 93.431.2553.1

* + - 1. **Male with spring clamp connection**

**gesis®** **connector, male, 3-pole, 50 V, 3 A, white**

System gesis® NV - Connectors for bus/signal cables, male version, 2-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 3, color coding white.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 2-, 1+

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F S1 Z R1 MWS

Part No.: 93.432.2553.0

**gesis®** **connector, male, 3-pole, 50 V, 3 A, black**

System gesis® NV - Connectors for bus/signal cables (e.g. LON), male version, 3-pole, with spring clamp connection, compact housing with strain relief and locking, field assembly, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Cable diameter: 5.5 - 6.5 mm

Housing material: Polyamide

Connections per pole: 1

Marking: 2-, 1+

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F S1 Z R1 MSW

Part No.: 93.432.2553.1

* + 1. **Snap-In**
       1. **Female connector with spring clamp connection**

**gesis® Snap-In, female, 3-pole, for panel mounting, 50 V, 3 A, white**

System gesis® NV - Connectors for bus/signal cables, female version, 3-pole, with spring clamp connection, snapable in housing, with integrated locking, mechanical coding code 3, color coding white.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F B1 R WS

Part No.: 93.431.2353.0

**gesis® Snap-In, female, 3-pole, for panel mounting, 50 V, 3 A, black**

System gesis® NV - Connectors for bus/signal cables (e.g. LON), female version, 3-pole, with spring clamp connection, snapable in housing, with integrated locking, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F B1 R SW

Part No.: 93.431.2353.1

* + - 1. **Male with spring clamp connection**

**gesis® Snap-In, male, 3-pole, for panel mounting, 50 V, 3 A, white**

System gesis® NV - Connectors for bus/signal cables, male version, 3-pole, with spring clamp connection, snapable in housing, with integrated locking, mechanical coding code 3, color coding white.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F S1 R WS

Part No.: 93.432.2353.0

**gesis® Snap-In, male, 3-pole, for panel mounting, 50 V, 3 A, black**

System gesis® NV - Connectors for bus/signal cables (e.g. LON), male version, 3-pole, with spring clamp connection, snapable in housing, with integrated locking, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Terminal cross-section, solid: 0.25 - 0.75 mm²

Terminal cross-section, stranded: 0.25 - 0.75 mm²

Housing material: Polyamide

Connections per pole: 1

Marking: 1+, 2-

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 F S1 R SW

Part No.: 93.432.2353.1

* + 1. **Distribution blocks**

**gesis® distribution block, 3-pole, 1 input, 2 outputs, 50 V, 3 A, white**

System gesis® NV - Distribution blocks for bus/signal cables, T-shaped distribution block, 3-pole, 1 input, 2 outputs, with integrated locking, mechanical coding code 3, color coding white.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Input: 1

Outputs: 2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 V 2P1 T WS

Part No.: 93.430.2653.0

**gesis® distribution block, 3-pole, 1 input, 2 outputs, 50 V, 3 A, black**

System gesis® NV - Distribution blocks for bus/signal cables (e.g. LON), T-shaped distribution block, 3-pole, 1 input, 2 outputs, with integrated locking, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Input: 1

Outputs: 2

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 V 2P1 T SW

Part No.: 93.420.2653.1

**gesis® distribution block, 3-pole, 1 input, 3 outputs, 50 V, 3 A, white**

System gesis® NV - Distribution blocks for bus/signal cables, H-shaped distribution block, 3-pole, 1 input, 3 outputs, with integrated locking, mechanical coding code 3, color coding white.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Input: 1

Outputs: 3

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 V 3P1 T WS

Part No.: 93.430.2453.0

**gesis® distribution block, 3-pole, 1 input, 3 outputs, 50 V, 3 A, black**

System gesis® NV - Distribution blocks for bus/signal cables (e.g. LON), H-shaped distribution block, 3-pole, 1 input, 3 outputs, with integrated locking, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Input: 1

Outputs: 3

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 V 3P1 T SW

Part No.: 93.420.2453.1

**gesis® distribution block, 3-pole, 1 input, 5 outputs, 50 V, 3 A, white**

System gesis® NV - Distribution blocks for bus/signal cables, distribution block, 3-pole, 1 input, 5 outputs, with integrated locking, mechanical coding code 3, color coding white.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Input: 1

Outputs: 5

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 V 5P1 T WS

Part No.: 93.430.2053.0

**gesis® distribution block, 3-pole, 1 input, 5 outputs, 50 V, 3 A, black**

System gesis® NV - Distribution blocks for bus/signal cables (e.g. LON), distribution block, 3-pole, 1 input, 5 outputs, with integrated locking, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Housing material: Polyamide

Input: 1

Outputs: 5

Halogen-free: yes

Brand: Wieland Electric GmbH

Type: BST14i3 V 5P1 T SW

Part No.: 93.420.2053.1

* + 1. **Accessories**

**gesis® cover for female, black**

System gesis® NV - Cover for female parts BST14, black.

Material: Polyamide

Halogen-free: yes

Brand: Wieland Electric GmbH

Part No.: 05.563.7753.0

**gesis® cover for male, black**

System gesis® NV - Cover for male parts BST14, black.

Material: Polyamide

Halogen-free: yes

Brand: Wieland Electric GmbH

Part No.: 05.563.7853.0

**gesis® cover cap, white**

System gesis® NV - Cover cap for snap-in cut outs BST14, white.

Material: Polyamide

Halogen-free: yes

Brand: Wieland Electric GmbH

Part No.: 07.425.8453.0

* + 1. **Cables**
       1. **Cable assemblies, 0.5 mm², fire class Eca, containing halogen**

**gesis® extension cable, female, male, 2x 0.5 mm², shed, 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled FB-2Y(St)2Y 2x2x0.8 extension cable, 3-pole, 0.5 mm², fire class Eca, male BST14i3, female BST14i3, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-2Y(St)2Y 2x2x0.8

Fire class: Eca

Cable color: gray

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i3 KF BS 50 x0SW

Part No.: 94.435.x000.1 (x corresponds to length in m)

**gesis® connection cable, female, free end, 2x 0.5 mm², shed, 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled FB-2Y(St)2Y 2x2x0.8 connection cable, 3-pole, 0.5 mm², fire class Eca, female BST14i3, free end, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-2Y(St)2Y 2x2x0.8

Fire class: Eca

Cable color: gray

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i3 KF B- 50 x0SW

Part No.: 94.435.x003.1 (x corresponds to length in m)

**gesis® connection cable, male, free end, 2x 0.5 mm², shed, 50 V, 3 A, Eca, length: x m, black**

System gesis® NV - assembled FB-2Y(St)2Y 2x2x0.8 connection cable, 3-pole, 0.5 mm², fire class Eca, male BST14i3, free end, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-2Y(St)2Y 2x2x0.8

Fire class: Eca

Cable color: gray

Halogen-free: no

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i3 KF -S 50 x0SW

Part No.: 94.435.x004.1 (x corresponds to length in m)

* + - 1. **Cable assemblies, 0.5 mm², fire class Dca, halogen-free**

**gesis® extension cable, female, male, 2x 0.5 mm², shed, 50 V, 3 A, Dca, length: x m, black**

System gesis® NV - assembled FB-H(St) 2x2x0.8 extension cable, 3-pole, 0.5 mm², fire class Dca, male BST14i3, female BST14i3, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-H(St) 2x2x0.8

Fire class: Dca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i3 KF BS 50H x0SW

Part No.: 94.435.x060.1 (x corresponds to length in m)

**gesis® connection cable, male, free end, 2x 0.5 mm², shed, 50 V, 3 A, Dca, length: x m, black**

System gesis® NV - assembled FB-H(St) 2x2x0.8 connection cable, 3-pole, 0.5 mm², fire class Dca, male BST14i3, free end, mechanical coding code 3, color coding black.

Rated voltage: 50 V

Rated current: 3 A

Type of protection: IP20

Cable type: FB-H(St) 2x2x0.8

Fire class: Dca

Cable color: green

Halogen-free: yes

Length: x m

Brand: Wieland Electric GmbH

Type: BST14i3 KF -S 50H x0SW

Part No.: 94.435.x064.1 (x corresponds to length in m)

05.563.7753.0 9, 24

05.563.7853.0 9, 24

07.425.8453.0 9, 24

93.420.0053.0 8

93.420.0453.0 7

93.420.0653.0 7

93.420.2053.1 23

93.420.2453.1 23

93.420.2653.1 22

93.420.4553.0 6

93.420.4653.0 7

93.421.0353.1 4

93.421.0553.1 2

93.421.4353.1 4

93.421.4553.1 2

93.422.0353.1 5

93.422.0553.1 3

93.422.4353.1 5

93.422.4553.1 3

93.430.2053.0 23

93.430.2453.0 22

93.430.2653.0 22

93.431.2353.0 20

93.431.2353.1 20

93.431.2553.0 18

93.431.2553.1 18

93.432.2353.0 21

93.432.2353.1 21

93.432.2553.0 19

93.432.2553.1 19

94.425.3060.9 14

94.425.3063.9 15

94.425.5060.9 14

94.425.x000.7 10

94.425.x003.7 10

94.425.x004.7 11

94.425.x030.9 10, 12

94.425.x033.9 11, 12

94.425.x034.9 11, 12

94.425.x050.7 16

94.425.x053.7 16

94.425.x054.7 16

94.425.x060.7 14

94.425.x063.7 15

94.425.x064.7 15

94.425.x090.9 13

94.425.x093.9 13

94.425.x094.9 13

94.435.x000.1 25

94.435.x003.1 25

94.435.x004.1 25

94.435.x060.1 26

94.435.x064.1 26